## List Price
CLICK TO RETURN TO TOP OF PAGE
2021 HCP Pumps America List Price Effective: 06/01/2022
GRINDERS | SOLIDS HANDLING PUMPS |  |  | PARTS |  | Basin Extensions
1-1/4" Discharge | 2" Discharge |  |  | Start Kits |  | CALL FOR PRICING
2" Discharge | 3" Discharge |  |  | Guide Rail Systems
EFFLUENT PUMPS | 4" Discharge |  |  | Elbow / Elbow Flanges
2" Discharge | 6" Discharge |  |  | ADT Adapters
3" Discharge | 8" Discharge |  |  | GRS Adapter Sets |  | Fiberglass Basin Covers
CUTTER PUMPS | 10" Discharge |  |  | Bolts & Gasket Sets |  | CALL FOR PRICING
3" Discharge | 14" Discharge |  |  | LOT / LOH Connections
4" Discharge | STAINLESS STEEL PUMPS |  |  | Cables
DEWATERING PUMPS | 2" Discharge |  |  | Ejectors / GRS Ejectors
2" Discharge | 3" Discharge |  |  | Float Switches / Brackets
3" Discharge | AGITATOR PUMPS |  |  | CONTROL PANELS |  | O-RING & REPAIR KITS
4" Discharge | 3" Discharge |  |  | BASINS |  | GF Series | AF Series
6" Discharge | 4" Discharge |  |  | CALL FOR PRICING |  | AFC Series | F/FN Series
8" Discharge | 6" Discharge |  |  |  |  | A/AN Series | AL Series
10" Discharge | AXIAL FLOW PUMPS |  |  |  |  | HD/BD/HDG Series
12" Discharge | JET PUMPS |  |  |  |  | IC Series | L Series
| SUCTION LIFT PUMPS |  |  |  |  | Stainless Steel Series
GRINDERS
Model No. | Hp | Pole | Ph/Voltage | Weight | Cable Size | List Price
Grinder Series, 1-1/4" Discharge - 3450 RPM - 30' Cable Length
32GF21.0-21 | 1.3 | 2 | 1/230 | 64 | A-4B-1603 | 1136
32GF21.0-23 | 1.3 | 2 | 3/230 | 60 | A-4A-1604 | 1105
32GF21.0-43 | 1.3 | 2 | 3/460 | 60 | A-4A-1604 | 1205
32GF21.5-21 | 2 | 2 | 1/230 | 84 | A-4B-1403 | 1283
32GF21.5-23 | 2 | 2 | 3/230 | 75 | A-4A-1604 | 1267
32GF21.5-43 | 2 | 2 | 3/460 | 75 | A-4A-1604 | 1367
32GF21.5H-21 | 2 | 2 | 1/230 | 88 | A-4B-1403 | 1829
32GF21.5H-23 | 2 | 2 | 3/230 | 80 | A-4A-1604 | 1754
32GF21.5H-43 | 2 | 2 | 3/460 | 80 | A-4A-1604 | 1854
32GF22.2-21 | 3 | 2 | 1/230 | 90 | A-4B-1604 | 1386
32GF22.2-23 | 3 | 2 | 3/230 | 88 | A-4A-1604 | 1391
32GF22.2-43 | 3 | 2 | 3/460 | 88 | A-4A-1604 | 1491
32GF22.2H-21 | 3 | 2 | 1/230 | 90 | A-4B-1203 | 1901
32GF22.2H-23 | 3 | 2 | 3/230 | 88 | A-4A-1604 | 1829
32GF22.2H-43 | 3 | 2 | 3/460 | 88 | A-4A-1604 | 1929
32GFR22.2A-21** | 3 | 2 | 1/230 |  | A-4B-1604 | 3084
32GFR22.2J-21* | 3 | 2 | 1/230 |  | A-4B-1604 | 3182
32GFR22.2HJ-21* | 3 | 2 | 1/230 |  | A-4B-1604 | 3409
Grinder Series, 2" Discharge - 3450 RPM - 50' Cable Length with MTS+MS
50GF22.2-21* | 3 | 2 | 1/230 | 112 | A-4A-1204 | 2636
50GF22.2-23 | 3 | 2 | 3/230 | 112 | A-4A-1204 | 2225
50GF22.2-43 | 3 | 2 | 3/460 | 112 | A-4A-1204 | 2325
50GF23.7-21* | 5 | 2 | 1/230 | 119 | A-4A-1204 | 2808
50GF23.7-23 | 5 | 2 | 3/230 | 119 | A-4A-1204 | 2295
50GF23.7-43 | 5 | 2 | 3/460 | 119 | A-4A-1204 | 2420
50GF24.5-21* | 6 | 2 | 1/230 | 135 | A-4A-1204 | 3426
50GF24.5-23 | 6 | 2 | 3/230 | 135 | A-4A-1204 | 2922
50GF24.5-43 | 6 | 2 | 3/460 | 135 | A-4A-1204 | 3047
50GF25.5-23 | 7.5 | 2 | 3/230 | 261 | A-4A-1204 | 3625
50GF25.5-43 | 7.5 | 2 | 3/460 | 261 | A-4A-1204 | 3750
50GF25.5H-23 | 7.5 | 2 | 3/230 | 261 | A-4A-1204 | 3854
50GF25.5H-43 | 7.5 | 2 | 3/460 | 261 | A-4A-1204 | 3979
50GF27.5-23 | 10 | 2 | 3/230 | 265 | A-4A-1204 | 4059
50GF27.5-43 | 10 | 2 | 3/460 | 265 | A-4A-1204 | 4184
50GF27.5H-23 | 10 | 2 | 3/230 | 265 | A-4A-1204 | 4221
50GF27.5H-43 | 10 | 2 | 3/460 | 265 | A-4A-1204 | 4346
50GF211-23 | 15 | 2 | 3/230 |  | A-4A-1204 | 4491
50GF211-43 | 15 | 2 | 3/460 |  | A-4A-1204 | 4616
50GF211H-23 | 15 | 2 | 3/230 |  | A-4A-1204 | 4740
50GF211H-43 | 15 | 2 | 3/460 |  | A-4A-1204 | 4865
EFFLUENT PUMPS
Model No. | Hp | Pole | Ph/Voltage | Weight | Cable Size | Solid Size | List Price
Effluent F/FN Series, 2" Vertical Discharge - 3600 RPM - 20' Cable Length & 30' Cable Length (115V Only)
F05A-11** | 0.5 | 2 | 1/115 | 27 | A-4B-1603 | 0.5 | 421
F05A-21** | 0.5 | 2 | 1/230 | 27 | A-4B-1603 | 0.5 | 376
F05U-11 | 0.5 | 2 | 1/115 | 35 | A-4B-1603 | 1.5 | 497
F05U-21 | 0.5 | 2 | 1/230 | 35 | A-4B-1603 | 1.5 | 454
F05U-23 | 0.5 | 2 | 3/230 | 35 | A-4B-1604 | 1.5 | 459
F05U-43 | 0.5 | 2 | 3/460 | 35 | A-4B-1604 | 1.5 | 559
F-05UL-11 | 0.5 | 2 | 1/115 |  | A-4B-1603 | 2 | 552
F-05UL-21 | 0.5 | 2 | 1/230 |  | A-4B-1603 | 2 | 531
F-05UL-23 | 0.5 | 2 | 3/230 |  | A-4B-1604 | 2 | 564
F-05UL-43 | 0.5 | 2 | 3/460 |  | A-4B-1604 | 2 | 664
F21P-11 | 1 | 2 | 1/115 | 46 | A-4B-1603 | 1 | 602
F21P-21 | 1 | 2 | 1/230 | 46 | A-4B-1603 | 1 | 564
F21P-23 | 1 | 2 | 3/230 | 44 | A-4B-1604 | 1 | 575
F21P-43 | 1 | 2 | 3/460 | 44 | A-4B-1604 | 1 | 675
F21U-11 | 1 | 2 | 1/115 | 40 | A-4B-1603 | 1.5 | 552
F21U-21 | 1 | 2 | 1/230 | 40 | A-4B-1603 | 1.5 | 514
F21U-23 | 1 | 2 | 3/230 | 37 | A-4B-1604 | 1.5 | 525
F21U-43 | 1 | 2 | 3/460 | 37 | A-4B-1604 | 1.5 | 625
F-21UL-11 | 1 | 2 | 1/115 |  | A-4B-1603 | 2 | 662
F-21UL-21 | 1 | 2 | 1/230 |  | A-4B-1603 | 2 | 619
F-21UL-23 | 1 | 2 | 3/230 |  | A-4B-1604 | 2 | 641
F-21UL-43 | 1 | 2 | 3/460 |  | A-4B-1604 | 2 | 741
FN-22U-21 | 2 | 2 | 1/230 | 46 | A-4B-1403 | 1.5 | 955
FN-22U-23 | 2 | 2 | 3/230 | 46 | A-4B-1604 | 1.5 | 932
FN-22U-43 | 2 | 2 | 3/460 | 46 | A-4B-1604 | 1.5 | 1032
FN-22UL-21 | 2 | 2 | 1/230 | 54 | A-4B-1403 | 2 | 1010
FN-22UL-23 | 2 | 2 | 3/230 | 54 | A-4B-1604 | 2 | 1010
FN-22UL-43 | 2 | 2 | 3/460 | 54 | A-4B-1604 | 2 | 1110
FN-23U-21 | 3 | 2 | 1/230 |  | A-4B-1403 | 1.5 | 1077
FN-23U-23 | 3 | 2 | 3/230 |  | A-4B-1604 | 1.5 | 1049
FN-23U-43 | 3 | 2 | 3/460 |  | A-4B-1604 | 1.5 | 1149
FN-23UL-21 | 3 | 2 | 1/230 |  | A-4B-1403 | 2 | 1259
FN-23UL-23 | 3 | 2 | 3/230 |  | A-4B-1604 | 2 | 1214
FN-23UL-43 | 3 | 2 | 3/460 |  | A-4B-1604 | 2 | 1314
Effluent A/AN Series, 2" Discharge - 3600 RPM - 20' Cable Length & 30' Cable Length (115V Only)
A-05A-11* | 0.5 | 2 | 1/115 | 29 | A-4B-1603 | 0.25 | 459
A-05A-21* | 0.5 | 2 | 1/230 | 29 | A-4B-1603 | 0.25 | 459
A-05B-11 | 0.5 | 2 | 1/115 | 33 | A-4B-1603 | 0.25 | 519
A-05B-21 | 0.5 | 2 | 1/230 | 33 | A-4B-1603 | 0.25 | 519
A-05B-23 | 0.5 | 2 | 3/230 | 31 | A-4B-1604 | 0.25 | 476
A-05B-43 | 0.5 | 2 | 3/460 | 31 | A-4B-1604 | 0.25 | 576
A-05L-11 | 0.5 | 2 | 1/115 | 31 | A-4B-1603 | 0.25 | 586
A-05L-21 | 0.5 | 2 | 1/230 | 31 | A-4B-1603 | 0.25 | 586
A-05L-23 | 0.5 | 2 | 3/230 | 29 | A-4B-1604 | 0.25 | 541
A-05L-43 | 0.5 | 2 | 3/460 | 29 | A-4B-1604 | 0.25 | 641
A-21-11 | 1 | 2 | 1/115 | 42 | A-4B-1603 | 0.25 | 614
A-21-21 | 1 | 2 | 1/230 | 42 | A-4B-1603 | 0.25 | 564
A-21-23 | 1 | 2 | 3/230 | 40 | A-4B-1604 | 0.25 | 564
A-21-43 | 1 | 2 | 3/460 | 40 | A-4B-1604 | 0.25 | 664
AN-21-11 | 1 | 2 | 1/115 | 42 | A-4B-1403 | 0.25 | 806
AN-21-21 | 1 | 2 | 1/230 | 42 | A-4B-1403 | 0.25 | 751
AN-21-23 | 1 | 2 | 3/230 | 40 | A-4B-1604 | 0.25 | 785
AN-21-43 | 1 | 2 | 3/460 | 40 | A-4B-1604 | 0.25 | 885
AN-21.5-21 | 1.5 | 2 | 1/230 | 44 | A-4B-1403 | 0.25 | 872
AN-21.5-23 | 1.5 | 2 | 3/230 | 44 | A-4B-1604 | 0.25 | 912
AN-21.5-43 | 1.5 | 2 | 3/460 | 44 | A-4B-1604 | 0.25 | 1012
AN-22-21 | 2 | 2 | 1/230 | 95 | A-4B-1403 | 0.5 | 1269
AN-22-23 | 2 | 2 | 3/230 | 98 | A-4B-1604 | 0.5 | 1182
AN-22-43 | 2 | 2 | 3/460 | 98 | A-4B-1604 | 0.5 | 1282
AN-23-21 | 3 | 2 | 1/230 | 92 | A-4B-1403 | 0.5 | 1336
AN-23-23 | 3 | 2 | 3/230 | 77 | A-4B-1604 | 0.5 | 1259
AN-23-43 | 3 | 2 | 3/460 | 77 | A-4B-1604 | 0.5 | 1359
Effluent F/FN Series, 3" Horizontal Discharge - 3600 RPM - 20' Cable Length & 30' Cable Length (115V & 2Hp and Up)
F-31U-11 | 1 | 2 | 1/115 | 47 | A-4B-1603 | 1.25 | 662
F-31U-21 | 1 | 2 | 1/230 | 45 | A-4B-1603 | 1.25 | 614
F-31U-23 | 1 | 2 | 3/230 | 45 | A-4B-1604 | 1.25 | 614
F-31U-43 | 1 | 2 | 3/460 | 45 | A-4B-1604 | 1.25 | 714
FN-32U-21 | 2 | 2 | 1/230 | 106 | A-4B-1403 | 2 | 1072
FN-32U-23 | 2 | 2 | 3/230 | 92 | A-4B-1604 | 2 | 1017
FN-32U-43 | 2 | 2 | 3/460 | 92 | A-4B-1604 | 2 | 1117
FN-32UL-21 | 2 | 2 | 1/230 | 106 | A-4B-1403 | 2 | 1237
FN-32UL-23 | 2 | 2 | 3/230 | 106 | A-4B-1604 | 2 | 1176
FN-32UL-43 | 2 | 2 | 3/460 | 106 | A-4B-1604 | 2 | 1276
FN-32P-21 | 2 | 2 | 1/230 | 106 | A-4B-1403 | 2 | 1082
FN-32P-23 | 2 | 2 | 3/230 | 92 | A-4B-1604 | 2 | 1022
FN-32P-43 | 2 | 2 | 3/460 | 92 | A-4B-1604 | 2 | 1122
FN-33U-21 | 3 | 2 | 1/230 | 103 | A-4A-1203 | 2 | 1237
FN-33U-23 | 3 | 2 | 3/230 | 90 | A-4B-1604 | 2 | 1165
FN-33U-43 | 3 | 2 | 3/460 | 90 | A-4B-1604 | 2 | 1265
FN-33UL-21 | 3 | 2 | 1/230 | 110 | A-4A-1203 | 3 | 1374
FN-33UL-23 | 3 | 2 | 3/230 | 110 | A-4B-1604 | 3 | 1292
FN-33UL-43 | 3 | 2 | 3/460 | 110 | A-4B-1604 | 3 | 1392
FN-33P-21 | 3 | 2 | 1/230 | 103 | A-4A-1203 | 1.5 | 1242
FN-33P-23 | 3 | 2 | 3/230 | 90 | A-4B-1604 | 1.5 | 1187
FN-33P-43 | 3 | 2 | 3/460 | 90 | A-4B-1604 | 1.5 | 1287
FN-35U-23 | 5 | 2 | 3/230 | 110 | A-4A-1404 | 2 | 1545
FN-35U-43 | 5 | 2 | 3/460 | 110 | A-4A-1404 | 2 | 1670
FN-35UL-23 | 5 | 2 | 3/230 | 115 | A-4A-1404 | 3 | 1705
FN-35UL-43 | 5 | 2 | 3/460 | 115 | A-4A-1404 | 3 | 1830
FN-35P-23 | 5 | 2 | 3/230 | 110 | A-4A-1404 | 1.5 | 1573
FN-35P-43 | 5 | 2 | 3/460 | 110 | A-4A-1404 | 1.5 | 1698
Effluent A/AN Series, 3" Discharge - 3600 RPM - 20' Cable Length & 30' Cable Length (115V & 2Hp and Up)
A-31-11 | 1 | 2 | 1/115 | 44 | A-4B-1603 | 0.25 | 662
A-31-21 | 1 | 2 | 1/230 | 44 | A-4B-1603 | 0.25 | 635
A-31-23 | 1 | 2 | 3/230 | 42 | A-4B-1604 | 0.25 | 635
A-31-43 | 1 | 2 | 3/460 | 42 | A-4B-1604 | 0.25 | 735
AN-32-21 | 2 | 2 | 1/230 | 103 | A-4A-1403 | 0.5 | 1226
AN-32-23 | 2 | 2 | 3/230 | 92 | A-4A-1404 | 0.5 | 1226
AN-32-43 | 2 | 2 | 3/460 | 92 | A-4A-1404 | 0.5 | 1326
AN-33-21 | 3 | 2 | 1/230 | 103 | A-4A-1403 | 0.5 | 1303
AN-33-23 | 3 | 2 | 3/230 | 71 | A-4A-1404 | 0.5 | 1259
AN-33-43 | 3 | 2 | 3/460 | 71 | A-4A-1404 | 0.5 | 1359
A-33H-21 | 3 | 2 | 1/230 | 103 | A-4A-1403 | 1 | 1710
AN-35-23 | 5 | 2 | 3/230 | 113 | A-4A-1404 | 0.5 | 1485
AN-35-43 | 5 | 2 | 3/460 | 113 | A-4A-1404 | 0.5 | 1610
SOLID HANDLING PUMPS
Model No. | Hp | Pole | Ph/Voltage | Weight | Cable Size | Solid Size | List Price
AF Series, 2" Vertical Discharge - 3600 RPM (2 Pole) & 1800 RPM (4 Pole) - 20' Cable Length & 30' Cable Length (115V Only)
50AFU2.4-11 | 0.5 | 2 | 1/115 | 44 | A-4B-1603 | 1.5 | 850
50AFU2.4-21 | 0.5 | 2 | 1/230 | 44 | A-4B-1603 | 1.5 | 801
50AFU2.4-23 | 0.5 | 2 | 3/230 | 44 | A-4B-1604 | 1.5 | 801
50AFU2.4-43 | 0.5 | 2 | 3/460 | 44 | A-4B-1604 | 1.5 | 901
50AFU2.4L-11 | 0.5 | 2 | 1/115 | 47 | A-4B-1603 | 2 | 1000
50AFU2.4L-21 | 0.5 | 2 | 1/230 | 47 | A-4B-1603 | 2 | 945
50AFU2.4L-23 | 0.5 | 2 | 3/230 | 47 | A-4B-1604 | 2 | 945
50AFU2.4L-43 | 0.5 | 2 | 3/460 | 47 | A-4B-1604 | 2 | 1045
50AFU4.4-11 | 0.5 | 4 | 1/115 | 64 | A-4B-1603 | 2 | 1092
50AFU4.4-21 | 0.5 | 4 | 1/230 | 64 | A-4B-1603 | 2 | 1044
50AFU4.4-23 | 0.5 | 4 | 3/230 | 64 | A-4B-1604 | 2 | 1044
50AFU4.4-43 | 0.5 | 4 | 3/460 | 64 | A-4B-1604 | 2 | 1144
50AFU2.8-11 | 1 | 2 | 1/115 | 46 | A-4B-1403 | 1.5 | 939
50AFU2.8-21 | 1 | 2 | 1/230 | 46 | A-4B-1403 | 1.5 | 895
50AFU2.8-23 | 1 | 2 | 3/230 | 46 | A-4B-1604 | 1.5 | 895
50AFU2.8-43 | 1 | 2 | 3/460 | 46 | A-4B-1604 | 1.5 | 995
50AFU2.8L-11 | 1 | 2 | 1/115 | 46 | A-4B-1403 | 2 | 1082
50AFU2.8L-21 | 1 | 2 | 1/230 | 46 | A-4B-1403 | 2 | 1037
50AFU2.8L-23 | 1 | 2 | 3/230 | 46 | A-4B-1604 | 2 | 1037
50AFU2.8L-43 | 1 | 2 | 3/460 | 46 | A-4B-1604 | 2 | 1137
50AFU4.8-11 | 1 | 4 | 1/115 | 66 | A-4B-1403 | 2 | 1187
50AFU4.8-21 | 1 | 4 | 1/230 | 66 | A-4B-1603 | 2 | 1137
50AFU4.8-23 | 1 | 4 | 3/230 | 66 | A-4B-1604 | 2 | 1137
50AFU4.8-43 | 1 | 4 | 3/460 | 66 | A-4B-1604 | 2 | 1237
50AFU21.5-21 | 2 | 2 | 1/230 | 64 | A-4B-1403 | 1.5 | 1452
50AFU21.5-23 | 2 | 2 | 3/230 | 64 | A-4A-1404 | 1.5 | 1424
50AFU21.5-43 | 2 | 2 | 3/460 | 64 | A-4A-1404 | 1.5 | 1524
50AFU21.5L-21 | 2 | 2 | 1/230 | 67 | A-4B-1403 | 2 | 1463
50AFU21.5L-23 | 2 | 2 | 3/230 | 67 | A-4A-1404 | 2 | 1463
50AFU21.5L-43 | 2 | 2 | 3/460 | 67 | A-4A-1404 | 2 | 1563
50AFU22.2-21 | 3 | 2 | 1/230 | 65 | A-4B-1403 | 1.5 | 1628
50AFU22.2-23 | 3 | 2 | 3/230 | 65 | A-4A-1404 | 1.5 | 1518
50AFU22.2-43 | 3 | 2 | 3/460 | 65 | A-4A-1404 | 1.5 | 1618
50AFU22.2L-21 | 3 | 2 | 1/230 | 68 | A-4B-1403 | 2 | 1655
50AFU22.2L-23 | 3 | 2 | 3/230 | 68 | A-4A-1404 | 2 | 1655
50AFU22.2L-43 | 3 | 2 | 3/460 | 68 | A-4A-1404 | 2 | 1755
AF Series, 3" Discharge - 3600 RPM (2 Pole) & 1800 RPM (4 Pole) - 20' Cable Length & 30' Cable Length (115V Only)
80AFU21.5-21 | 2 | 2 | 1/230 | 128 | A-4B-1403 | 2 | 1584
80AFU21.5-23 | 2 | 2 | 3/230 | 128 | A-4A-1404 | 2 | 1584
80AFU21.5-43 | 2 | 2 | 3/460 | 128 | A-4A-1404 | 2 | 1684
80AFU21.5L-21 | 2 | 2 | 1/230 | 132 | A-4B-1403 | 3 | 1728
80AFU21.5L-23 | 2 | 2 | 3/230 | 132 | A-4A-1404 | 3 | 1728
80AFU21.5L-43 | 2 | 2 | 3/460 | 132 | A-4A-1404 | 3 | 1828
80AFU41.5-21 | 2 | 4 | 1/230 | 132 | A-4B-1403 | 3 | 2186
80AFU41.5-23 | 2 | 4 | 3/230 | 132 | A-4A-1404 | 3 | 2097
80AFU41.5-43 | 2 | 4 | 3/460 | 132 | A-4A-1404 | 3 | 2197
80AFP21.5-21 | 2 | 2 | 1/230 | 92 | A-4B-1403 | 1.5 | 1584
80AFP21.5-23 | 2 | 2 | 3/230 | 84 | A-4A-1404 | 1.5 | 1584
80AFP21.5-43 | 2 | 2 | 3/460 | 84 | A-4A-1404 | 1.5 | 1684
80AFP41.5-21 | 2 | 4 | 1/230 | 119 | A-4B-1403 | 2 | 2186
80AFP41.5-23 | 2 | 4 | 3/230 | 119 | A-4A-1404 | 2 | 2086
80AFP41.5-43 | 2 | 4 | 3/460 | 119 | A-4A-1404 | 2 | 2186
80AFE41.5-21 | 2 | 4 | 1/230 |  |  | 3 | 3245
80AFE41.5-23 | 2 | 4 | 3/230 |  |  | 3 | 2921
80AFE41.5-43 | 2 | 4 | 3/460 |  |  | 3 | 3021
80AFU22.2-21 | 3 | 2 | 1/230 | 156 | A-4A-1203 | 2 | 1805
80AFU22.2-23 | 3 | 2 | 3/230 | 156 | A-4A-1404 | 2 | 1805
80AFU22.2-43 | 3 | 2 | 3/460 | 156 | A-4A-1404 | 2 | 1905
80AFU22.2L-21 | 3 | 2 | 1/230 | 125 | A-4A-1203 | 3 | 1954
80AFU22.2L-23 | 3 | 2 | 3/230 | 125 | A-4A-1404 | 3 | 1954
80AFU22.2L-43 | 3 | 2 | 3/460 | 125 | A-4A-1404 | 3 | 2054
80AFU42.2-21 | 3 | 4 | 1/230 |  |  |  | 3084
80AFU42.2-23 | 3 | 4 | 3/230 | 156 | A-4A-1404 | 3 | 2710
80AFU42.2-43 | 3 | 4 | 3/460 | 156 | A-4A-1404 | 3 | 2810
80AFP22.2-21 | 3 | 2 | 1/230 | 119 | A-4A-1203 | 1.5 | 1855
80AFP22.2-23 | 3 | 2 | 3/230 | 97 | A-4A-1404 | 1.5 | 1855
80AFP22.2-43 | 3 | 2 | 3/460 | 97 | A-4A-1404 | 1.5 | 1955
80AFP42.2-21 | 3 | 4 | 1/230 |  |  |  | 3042
80AFP42.2-23 | 3 | 4 | 3/230 | 161 | A-4A-1404 | 2 | 2721
80AFP42.2-43 | 3 | 4 | 3/460 | 161 | A-4A-1404 | 2 | 2821
80AFE42.2-21 | 3 | 4 | 1/230 | 175 | A-4A-1204 | 3 | 3940
80AFE42.2-23 | 3 | 4 | 3/230 | 162 | A-4A-1404 | 3 | 2936
80AFE42.2-43 | 3 | 4 | 3/460 | 162 | A-4A-1404 | 3 | 3036
80AFU23.7A-21* | 5 | 2 | 1/230 | 176 | A-4A-1203 | 2 | 3112
80AFU23.7A-23 | 5 | 2 | 3/230 | 176 | A-4A-1404 | 2 | 2588
80AFU23.7A-43 | 5 | 2 | 3/460 | 176 | A-4A-1404 | 2 | 2713
80AFU23.7LA-21* | 5 | 2 | 1/230 | 176 | A-4A-1204 | 3 | 3112
80AFU23.7LA-23 | 5 | 2 | 3/230 | 176 | A-4A-1404 | 3 | 2593
80AFU23.7LA-43 | 5 | 2 | 3/460 | 176 | A-4A-1404 | 3 | 2718
80AFU43.7-21 | 5 | 4 | 1/230 |  |  |  | 3900
80AFU43.7-23 | 5 | 4 | 3/230 | 176 | A-4A-1404 | 3 | 3575
80AFU43.7-43 | 5 | 4 | 3/460 | 176 | A-4A-1404 | 3 | 3700
80AFP23.7A-21* | 5 | 2 | 1/230 | 180 | A-4A-1204 | 1.25 | 3586
80AFP23.7A-23 | 5 | 2 | 3/230 | 185 | A-4A-1404 | 1.25 | 3172
80AFP23.7A-43 | 5 | 2 | 3/460 | 185 | A-4A-1404 | 1.25 | 3297
80AFP43.7-21 | 5 | 4 | 1/230 |  |  |  | 3859
80AFP43.7-23 | 5 | 4 | 3/230 | 185 | A-4A-1404 | 2 | 3543
80AFP43.7-43 | 5 | 4 | 3/460 | 185 | A-4A-1404 | 2 | 3668
80AFE43.7-21 | 5 | 4 | 1/230 | 186 | A-4A-1204 | 3 | 4403
80AFE43.7-23 | 5 | 4 | 3/230 | 186 | A-4A-1404 | 3 | 3322
80AFE43.7-43 | 5 | 4 | 3/460 | 190 | A-4A-1404 | 3 | 3447
80AFU25.5-23 | 7.5 | 2 | 3/230 | 315 | A-4A-1204 | 2 | 4426
80AFU25.5-43 | 7.5 | 2 | 3/460 | 315 | A-4A-1204 | 2 | 4551
80AFU25.5L-23 | 7.5 | 2 | 3/230 | 315 | A-4A-1204 | 3 | 5209
80AFU25.5L-43 | 7.5 | 2 | 3/460 | 315 | A-4A-1204 | 3 | 5334
80AFP25.5-23 | 7.5 | 2 | 3/230 | 315 | A-4A-1204 | 1.25 | 4657
80AFP25.5-43 | 7.5 | 2 | 3/460 | 315 | A-4A-1204 | 1.25 | 4782
80AFU27.5-23 | 10 | 2 | 3/230 | 353 | A-4A-1204 | 2 | 4717
80AFU27.5-43 | 10 | 2 | 3/460 | 353 | A-4A-1204 | 2 | 4842
80AFU27.5L-23 | 10 | 2 | 3/230 | 353 | A-4A-1204 | 3 | 5737
80AFU27.5L-43 | 10 | 2 | 3/460 | 353 | A-4A-1204 | 3 | 5862
80AFP27.5-23 | 10 | 2 | 3/230 | 353 | A-4A-1204 | 1.25 | 5164
80AFP27.5-43 | 10 | 2 | 3/460 | 353 | A-4A-1204 | 1.25 | 5289
80AFU211-23 | 15 | 2 | 3/230 | 385 | A-4A-1204 | 2 | 4917
80AFU211-43 | 15 | 2 | 3/460 | 385 | A-4A-1204 | 2 | 5042
80AFU211L-23 | 15 | 2 | 3/230 | 385 | A-4A-1204 | 3 | 6510
80AFU211L-43 | 15 | 2 | 3/460 | 385 | A-4A-1204 | 3 | 6635
80AFP211-23 | 15 | 2 | 3/230 | 385 | A-4A-1204 | 1.25 | 6168
80AFP211-43 | 15 | 2 | 3/460 | 385 | A-4A-1204 | 1.25 | 6293
AF Series, 4" Discharge - 3600 RPM (2 Pole) & 1800 RPM (4 Pole) - 50' Cable Length with MTS/MS
100AFE41.5-21 | 2 | 4 | 1/230 |  |  | 3 | 4543
100AFE41.5-23 | 2 | 4 | 3/230 |  |  | 3 | 3678
100AFE41.5-43 | 2 | 4 | 3/460 |  |  | 3 | 3778
100AFE42.2-21* | 3 | 4 | 1/230 | 195 | A-4A-1204 | 3 | 4954
100AFE42.2-23 | 3 | 4 | 3/230 | 195 | A-4A-1204 | 3 | 4210
100AFE42.2-43 | 3 | 4 | 3/460 | 210 | A-4A-1204 | 3 | 4310
100AFE43.7-21* | 5 | 4 | 1/230 | 195 | A-4A-1204 | 3 | 5534
100AFE43.7-23 | 5 | 4 | 3/230 | 195 | A-4A-1204 | 3 | 4767
100AFE43.7-43 | 5 | 4 | 3/460 | 220 | A-4A-1204 | 3 | 4892
100AFE45.5-23 | 7.5 | 4 | 3/230 | 315 | A-4A-1204 | 3 | 5358
100AFE45.5-43 | 7.5 | 4 | 3/460 | 315 | A-4A-1204 | 3 | 5483
100AFU45.5-23 | 7.5 | 4 | 3/230 | 315 | A-4A-1204 | 4 | 5358
100AFU45.5-43 | 7.5 | 4 | 3/460 | 315 | A-4A-1204 | 4 | 5483
100AFE47.5-23 | 10 | 4 | 3/230 | 353 | A-4A-1004 | 3 | 6168
100AFE47.5-43 | 10 | 4 | 3/460 | 353 | A-4A-1004 | 3 | 6293
100AFU47.5-23 | 10 | 4 | 3/230 | 353 | A-4A-1004 | 4 | 6168
100AFU47.5-43 | 10 | 4 | 3/460 | 353 | A-4A-1004 | 4 | 6293
100AFE411-23 | 15 | 4 | 3/230 | 395 | A-4A-1004 | 3 | 7712
100AFE411-43 | 15 | 4 | 3/460 | 395 | A-4A-1004 | 3 | 7837
100AFE415-23 | 20 | 4 | 3/230 | 425 | A-4A-1004 | 3 | 9306
100AFE415-43 | 20 | 4 | 3/460 | 425 | A-4A-1004 | 3 | 9431
100AFE422-23 | 30 | 4 | 3/230 | 485 | A-4A-0804 | 3 | 11750
100AFE422-43 | 30 | 4 | 3/460 | 485 | A-4A-0804 | 3 | 11875
100AFE430-23 | 40 | 4 | 3/230 | 690 | A-4A-0804 | 3 | 13714
100AFE430-43 | 40 | 4 | 3/460 | 690 | A-4A-0804 | 3 | 13839
AF Series, 6" Discharge - 1800 RPM - 50' Cable Length with MTS/MS
AF-610-23 | 10 | 4 | 3/230 | 506 | A-4A-1004 | 3 | 8385
AF-610-43 | 10 | 4 | 3/460 | 506 | A-4A-1004 | 3 | 8510
AF-615A-23 | 15 | 4 | 3/230 | 570 | A-4A-1004 | 2.75 | 10217
AF-615A-43 | 15 | 4 | 3/460 | 570 | A-4A-1004 | 2.75 | 10342
AF-620A-23 | 20 | 4 | 3/230 | 595 | A-4A-1004 | 3 | 11342
AF-620A-43 | 20 | 4 | 3/460 | 595 | A-4A-1004 | 3 | 11467
150AFE422-23 | 30 | 4 | 3/230 |  | CALL | 3 | 12687
150AFE422-43 | 30 | 4 | 3/460 |  | CALL | 3 | 12812
150AFE430-23 | 40 | 4 | 3/230 |  | CALL | 3 | 14894
150AFE430-43 | 40 | 4 | 3/460 |  | CALL | 3 | 15019
AF Series, 8" Discharge - 1800 RPM - 50' Cable Length with MTS/MS
AF-815A-23 | 15 | 4 | 3/230 | 610 | A-4A-1004 | 2.75 | 11133
AF-815A-43 | 15 | 4 | 3/460 | 610 | A-4A-1004 | 2.75 | 11258
AF-820A-23 | 20 | 4 | 3/230 | 640 | A-4A-1004 | 2.75 | 11662
AF-820A-43 | 20 | 4 | 3/460 | 640 | A-4A-1004 | 2.75 | 11787
AF Series, 10" Discharge - 1800 RPM - 50' Cable Length with MTS/MS
AF-1030S-23 | 30 | 4 | 3/230 | 1729 | CALL | 3 | 33942
AF-1030S-43 | 30 | 4 | 3/460 | 1729 | CALL | 3 | 34067
AF-1040-23 | 40 | 4 | 3/230 | 1665 | CALL | 3 | 36562
AF-1040-43 | 40 | 4 | 3/460 | 1665 | CALL | 3 | 36687
AF-1050-23 | 50 | 4 | 3/230 | 1687 | CALL | 3 | 37510
AF-1050-43 | 50 | 4 | 3/460 | 1687 | CALL | 3 | 37635
AF-1060-23 | 60 | 4 | 3/230 | 1698 | CALL | 3 | 40176
AF-1060-43 | 60 | 4 | 3/460 | 1698 | CALL | 3 | 40301
AF-1075-43 | 75 | 4 | 3/460 | 1985 | CALL | 3 | 41912
AF Series, 14" Discharge - 1170 RPM (6 Pole) & 875 RPM (8 Pole) - 50' Cable Length with MTS/MS
AF-1430-23 | 30 | 8 | 3/230 | 2095 | CALL | 4.75 | 40942
AF-1430-43 | 30 | 8 | 3/460 | 2095 | CALL | 4.75 | 41067
AF-1440-23 | 40 | 6 | 3/230 | 2105 | CALL | 4.75 | 43259
AF-1440-43 | 40 | 6 | 3/460 | 2105 | CALL | 4.75 | 43384
AF-1450-23 | 50 | 6 | 3/230 | 2325 | CALL | 4.75 | 45664
AF-1450-43 | 50 | 6 | 3/460 | 2325 | CALL | 4.75 | 45789
AF-1460-23 | 60 | 6 | 3/230 | 2340 | CALL | 4.75 | 48014
AF-1460-43 | 60 | 6 | 3/460 | 2340 | CALL | 4.75 | 48139
CUTTER PUMPS
Model No. | Hp | Pole | Ph/Voltage | Weight | Cable Size | Solid Size | List Price
AFC Series, 3" Discharge - 3600 RPM (2 Pole) & 1800 RPM (4 Pole) - 50' Cable Length with MTS/MS
80AFC21.5-21 | 2 | 2 | 1/230 | 92 | A-4A-1403 | 2.5 | 1723
80AFC21.5-23 | 2 | 2 | 3/230 | 84 | A-4A-1404 | 2.5 | 1723
80AFC21.5-43 | 2 | 2 | 3/460 | 84 | A-4A-1404 | 2.5 | 1823
80AFC22.2-21 | 3 | 2 | 1/230 | 119 | A-4A-1403 | 2.5 | 1986
80AFC22.2-23 | 3 | 2 | 3/230 | 97 | A-4A-1404 | 2.5 | 1986
80AFC22.2-43 | 3 | 2 | 3/460 | 97 | A-4A-1404 | 2.5 | 2086
80AFC42.2-21 | 3 | 4 | 1/230 |  |  | 2.5 | 2704
80AFC42.2-23 | 3 | 4 | 3/230 |  | A-4A-1404 | 2.5 | 2483
80AFC42.2-43 | 3 | 4 | 3/460 |  | A-4A-1404 | 2.5 | 2583
80AFC23.7A-21* | 5 | 2 | 1/230 | 185 | A-4A-1204 | 2.5 | 3129
80AFC23.7A-23 | 5 | 2 | 3/230 | 185 | A-4A-1404 | 2.5 | 2483
80AFC23.7A-43 | 5 | 2 | 3/460 | 185 | A-4A-1404 | 2.5 | 2608
80AFC43.7-21 | 5 | 4 | 1/230 |  |  |  | 3120
80AFC43.7-23 | 5 | 4 | 3/230 |  | A-4A-1204 | 2.5 | 2676
80AFC43.7-43 | 5 | 4 | 3/460 |  | A-4A-1204 | 2.5 | 2801
80AFC25.5-23 | 7.5 | 2 | 3/230 | 210 | A-4A-1204 | 2.5 | 3310
80AFC25.5-43 | 7.5 | 2 | 3/460 | 210 | A-4A-1204 | 2.5 | 3435
80AFC27.5-23 | 10 | 2 | 3/230 | 222 | A-4A-1204 | 2.5 | 3663
80AFC27.5-43 | 10 | 2 | 3/460 | 222 | A-4A-1204 | 2.5 | 3788
80AFC211-23 | 15 | 2 | 3/230 | 248 | A-4A-1204 | 2.5 | 4260
80AFC211-43 | 15 | 2 | 3/460 | 248 | A-4A-1204 | 2.5 | 4385
AFC Series, 4" Discharge - 3600 RPM (2 Pole) & 1800 RPM (4 Pole) - 50' Cable Length with MTS/MS
100AFC45.5-23 | 7.5 | 4 | 3/230 |  | A-4A-1204 | 2.5 | 3586
100AFC45.5-43 | 7.5 | 4 | 3/460 |  | A-4A-1204 | 2.5 | 3711
100AFC47.5-23 | 10 | 4 | 3/230 |  | A-4A-1204 | 2.5 | 3945
100AFC47.5-43 | 10 | 4 | 3/460 |  | A-4A-1204 | 2.5 | 4070
DEWATERING PUMPS
Model No. | Hp | Pole | Ph/Voltage | Weight | Cable Size | Solid Size | List Price
Dewatering GDS Series, 2" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
GDS-250 | 0.3 | 2 | 1/115/230 | 25 | A-4A-1603 | 0.25 | 470
GDR-400 | 0.5 | 2 | 1/115/230 | 30 | A-4A-1603 | 0.25 | 470
GDS-400 | 0.5 | 2 | 1/115/230 | 30 | A-4A-1603 | 0.25 | 441
GDS-400F | 0.5 | 2 | 1/115/230 | 30 | A-4A-1603 | 0.25 | 459
GDS-750 | 1 | 2 | 1/115/230 | 30 | A-4A-1603 | 0.25 | 454
GDS-750F | 1 | 2 | 1/115/230 | 30 | A-4A-1603 | 0.25 | 486
Dewatering SS Series, 2" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
SS-250-11 | 0.3 | 2 | 1/115 | 25 | A-4A-1603 | 0.28 | 646
SS-250-21 | 0.3 | 2 | 1/230 | 25 | A-4A-1603 | 0.28 | 619
SS-400-11 | 0.5 | 2 | 1/115 | 30 | A-4A-1603 | 0.28 | 785
SS-400-21 | 0.5 | 2 | 1/230 | 30 | A-4A-1603 | 0.28 | 757
SS-400-23 | 0.5 | 2 | 3/230 | 30 | A-4A-1604 | 0.28 | 773
SS-400-43 | 0.5 | 2 | 3/460 | 30 | A-4A-1604 | 0.28 | 873
SS-750* | 1 | 2 | 1/115/230 | 30 | A-4A-1603 | 0.28 | 945
SS-750-23 | 1 | 2 | 3/230 | 30 | A-4A-1604 | 0.28 | 922
SS-750-43 | 1 | 2 | 3/460 | 30 | A-4A-1604 | 0.28 | 1022
Dewatering AL Series, 2" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
50AL21.5-21 | 2 | 2 | 1/230 | 79 | A-4A-1403 | 0.75 | 1557
50AL21.5-23 | 2 | 2 | 3/230 | 71 | A-4A-1404 | 0.75 | 1468
50AL21.5-43 | 2 | 2 | 3/460 | 71 | A-4A-1404 | 0.75 | 1568
50AL22.2-21 | 3 | 2 | 1/230 | 84 | A-4A-1403 | 0.75 | 1778
50AL22.2-23 | 3 | 2 | 3/230 | 77 | A-4A-1404 | 0.75 | 1688
50AL22.2-43 | 3 | 2 | 3/460 | 77 | A-4A-1404 | 0.75 | 1788
Dewatering IC Series, 2" Discharge - 3600 RPM (2 Pole) - 30' Cable Length & 20' Cable Length (115V Only)
IC-215-11 | 1.5 | 2 | 1/115 | 66 | A-4A-1603 | 0.25 | 1203
IC-215-21 | 1.5 | 2 | 1/230 | 66 | A-4A-1603 | 0.25 | 1203
IC-215-23 | 1.5 | 2 | 3/230 | 44 | A-4A-1604 | 0.25 | 1154
IC-215-43 | 1.5 | 2 | 3/460 | 44 | A-4A-1604 | 0.25 | 1254
Dewatering HD Series, 2" Discharge - 3600 RPM (2 Pole) - 26' Cable Length
50HD21.1-11 | 1.5 | 2 | 1/115 | 62 | A-4A-1603 | 0.5 | 1269
50HD21.1-21 | 1.5 | 2 | 1/230 | 62 | A-4A-1603 | 0.5 | 1104
50HD21.1-23 | 1.5 | 2 | 3/230 | 53 | A-4A-1604 | 0.5 | 1104
50HD21.1-43 | 1.5 | 2 | 3/460 | 53 | A-4A-1604 | 0.5 | 1204
50HD21.5-21 | 2 | 2 | 1/230 | 88 | A-4A-1603 | 0.5 | 1380
50HD21.5-23 | 2 | 2 | 3/230 | 79 | A-4A-1604 | 0.5 | 1380
50HD21.5-43 | 2 | 2 | 3/460 | 79 | A-4A-1604 | 0.5 | 1480
50HD22.2-21 | 3 | 2 | 1/230 | 99 | A-4A-1403 | 0.5 | 1655
50HD22.2-23 | 3 | 2 | 3/230 | 86 | A-4A-1404 | 0.5 | 1655
50HD22.2-43 | 3 | 2 | 3/460 | 86 | A-4A-1404 | 0.5 | 1755
50HD23.7-23 | 5 | 2 | 3/230 | 97 | A-4A-1404 | 0.5 | 1931
50HD23.7-43 | 5 | 2 | 3/460 | 97 | A-4A-1404 | 0.5 | 2056
Dewatering AL Series, 3" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
80AL21.5-21 | 2 | 2 | 1/230 | 93 | A-4A-1403 | 0.75 | 1645
80AL21.5-23 | 2 | 2 | 3/230 | 82 | A-4A-1404 | 0.75 | 1557
80AL21.5-43 | 2 | 2 | 3/460 | 82 | A-4A-1404 | 0.75 | 1657
80AL22.2-21 | 3 | 2 | 1/230 | 97 | A-4A-1403 | 0.75 | 1865
80AL22.2-23 | 3 | 2 | 3/230 | 88 | A-4A-1404 | 0.75 | 1778
80AL22.2-43 | 3 | 2 | 3/460 | 88 | A-4A-1404 | 0.75 | 1878
80AL23.7A-21* | 5 | 2 | 1/230 | 132 | A-4A-1204 | 0.75 | 3012
80AL23.7A-23 | 5 | 2 | 3/230 | 132 | A-4A-1204 | 0.75 | 2781
80AL23.7A-43 | 5 | 2 | 3/460 | 132 | A-4A-1204 | 0.75 | 2906
80AL25.5-23 | 7.5 | 2 | 3/230 | 218 | A-4A-1204 | 0.75 | 4193
80AL25.5-43 | 7.5 | 2 | 3/460 | 218 | A-4A-1204 | 0.75 | 4318
80AL27.5-23 | 10 | 2 | 3/230 | 231 | A-4A-1204 | 0.75 | 4932
80AL27.5-43 | 10 | 2 | 3/460 | 231 | A-4A-1204 | 0.75 | 5057
80AL211-23 | 15 | 2 | 3/230 | 250 | A-4A-1204 | 0.75 | 7371
80AL211-43 | 15 | 2 | 3/460 | 250 | A-4A-1204 | 0.75 | 7496
Dewatering IC Series, 3" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
IC-32B-21 | 2 | 2 | 1/230 | 79 | A-4A-1403 | 0.5 | 1563
IC-32B-23 | 2 | 2 | 3/230 | 71 | A-4A-1404 | 0.5 | 1446
IC-32B-43 | 2 | 2 | 3/460 | 71 | A-4A-1404 | 0.5 | 1546
IC-33B-21 | 3 | 2 | 1/230 | 84 | A-4A-1403 | 0.5 | 1755
IC-33B-23 | 3 | 2 | 3/230 | 75 | A-4A-1404 | 0.5 | 1551
IC-33B-43 | 3 | 2 | 3/460 | 75 | A-4A-1404 | 0.5 | 1651
Dewatering HD Series, 3" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
80HD21.5-21 | 2 | 2 | 1/230 | 121 | A-4A-1403 | 0.5 | 2031
80HD21.5-23 | 2 | 2 | 3/230 | 116 | A-4A-1404 | 0.5 | 1965
80HD21.5-43 | 2 | 2 | 3/460 | 116 | A-4A-1404 | 0.5 | 2065
80HD22.2-21 | 3 | 2 | 1/230 | 130 | A-4A-1403 | 0.5 | 2224
80HD22.2-23 | 3 | 2 | 3/230 | 127 | A-4A-1404 | 0.5 | 2164
80HD22.2-43 | 3 | 2 | 3/460 | 127 | A-4A-1404 | 0.5 | 2264
80HD23.7-23 | 5 | 2 | 3/230 | 145 | A-4A-1404 | 0.5 | 2682
80HD23.7-43 | 5 | 2 | 3/460 | 145 | A-4A-1404 | 0.5 | 2807
80HD25.5-23 | 7.5 | 2 | 3/230 | 158 | A-4A-1204 | 0.5 | 5137
80HD25.5-43 | 7.5 | 2 | 3/460 | 158 | A-4A-1204 | 0.5 | 5262
Dewatering L Series, 3" Discharge - 3600 RPM (2 Pole) - 30' Cable Length & 20' Cable Length (115V Only)
L-305A-11 | 0.5 | 2 | 1/115 | 55 | A-4A-1603 | 0.75 | 1082
L-305A-21 | 0.5 | 2 | 1/230 | 55 | A-4A-1603 | 0.75 | 1082
L-305A-23 | 0.5 | 2 | 3/230 | 55 | A-4A-1604 | 0.75 | 1082
L-305A-43 | 0.5 | 2 | 3/460 | 55 | A-4A-1604 | 0.75 | 1182
L-31A-11 | 1 | 2 | 1/115 | 60 | A-4A-1603 | 0.75 | 1110
L-31A-21 | 1 | 2 | 1/230 | 60 | A-4A-1603 | 0.75 | 1110
L-31A-23 | 1 | 2 | 3/230 | 60 | A-4A-1604 | 0.75 | 1110
L-31A-43 | 1 | 2 | 3/460 | 60 | A-4A-1604 | 0.75 | 1210
Dewatering IC Series, 4" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
IC-43B-21 | 3 | 2 | 1/230 | 89 | A-4A-1403 | 0.5 | 1800
IC-43B-23 | 3 | 2 | 3/230 | 79 | A-4A-1404 | 0.5 | 1673
IC-43B-43 | 3 | 2 | 3/460 | 79 | A-4A-1404 | 0.5 | 1773
IC-45B-23 | 5 | 2 | 3/230 | 117 | A-4A-1404 | 0.5 | 2004
IC-45B-43 | 5 | 2 | 3/460 | 117 | A-4A-1404 | 0.5 | 2129
IC-46B-23 | 6 | 2 | 3/230 | 125 | A-4A-1204 | 0.5 | 2103
IC-46B-43 | 6 | 2 | 3/460 | 125 | A-4A-1204 | 0.5 | 2228
IC-48-23 | 7.5 | 2 | 3/230 | 157 | A-4A-1204 | 0.75 | 4756
IC-48-43 | 7.5 | 2 | 3/460 | 157 | A-4A-1204 | 0.75 | 4881
IC-410-23 | 10 | 2 | 3/230 | 174 | A-4A-1204 | 0.75 | 5154
IC-410-43 | 10 | 2 | 3/460 | 174 | A-4A-1204 | 0.75 | 5279
Dewatering HD Series, 4" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
100HD23.7-23 | 5 | 2 | 3/230 | 97 | A-4A-1404 | 0.5 | 4844
100HD23.7-43 | 5 | 2 | 3/460 | 97 | A-4A-1404 | 0.5 | 4969
100HD25.5-23 | 7.5 | 2 | 3/230 | 163 | A-4A-1204 | 0.5 | 4789
100HD25.5-43 | 7.5 | 2 | 3/460 | 163 | A-4A-1204 | 0.5 | 4914
100HD27.5-23 | 10 | 2 | 3/230 | 167 | A-4A-1204 | 0.5 | 5308
100HD27.5-43 | 10 | 2 | 3/460 | 167 | A-4A-1204 | 0.5 | 5433
100HD211-23 | 15 | 2 | 3/230 | 375 | A-4A-1204 | 1 | 7845
100HD211-43 | 15 | 2 | 3/460 | 375 | A-4A-1204 | 1 | 7970
100HD215-23 | 20 | 2 | 3/230 |  |  |  | 9464
100HD215-43 | 20 | 2 | 3/460 |  |  |  | 9589
Dewatering BD Series, 4" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
100BD222-23 | 30 | 2 | 3/230 |  | CALL | 1 | 11520
100BD222-43 | 30 | 2 | 3/460 |  | CALL | 1 | 11645
Dewatering L Series, 4" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
L-405A-11 | 0.5 | 2 | 1/115 | 60 | A-4A-1603 | 0.75 | 1060
L-405A-21 | 0.5 | 2 | 1/230 | 60 | A-4A-1603 | 0.75 | 1060
L-405A-23 | 0.5 | 2 | 3/230 | 60 | A-4A-1604 | 0.75 | 1060
L-405A-43 | 0.5 | 2 | 3/460 | 60 | A-4A-1604 | 0.75 | 1160
L-41A-11 | 1 | 2 | 1/115 | 60 | A-4A-1603 | 0.75 | 1092
L-41A-21 | 1 | 2 | 1/230 | 60 | A-4A-1603 | 0.75 | 1092
L-41A-23 | 1 | 2 | 3/230 | 63 | A-4A-1604 | 0.75 | 1092
L-41A-43 | 1 | 2 | 3/460 | 63 | A-4A-1604 | 0.75 | 1192
Dewatering IC Series, 6" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
IC-610-23 | 10 | 2 | 3/230 | 279 | A-4A-1204 | 1 | 5710
IC-610-43 | 10 | 2 | 3/460 | 279 | A-4A-1204 | 1 | 5835
Dewatering HD Series, 6" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
150HD27.5-23 | 10 | 2 | 3/230 | 172 | A-4A-1204 | 0.5 | 5672
150HD27.5-43 | 10 | 2 | 3/460 | 172 | A-4A-1204 | 0.5 | 5797
150HD215-23 | 20 | 2 | 3/230 | 425 | A-4A-1204 | 1 | 8495
150HD215-43 | 20 | 2 | 3/460 | 425 | A-4A-1204 | 1 | 8620
Dewatering BD Series, 6" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
150BD222-23 | 30 | 2 | 3/230 |  | A-4A-0804 | 1 | 13946
150BD222-43 | 30 | 2 | 3/460 |  | A-4A-0804 | 1 | 14071
Dewatering L Series, 6" Discharge - 1800 RPM (4 Pole) - 30' Cable Length
L-62A-23 | 2 | 4 | 3/230 | 110 | A-4A-1404 | 0.75 | 2020
L-62A-43 | 2 | 4 | 3/460 | 110 | A-4A-1404 | 0.75 | 2120
L-63A-23 | 3 | 4 | 3/230 | 117 | A-4A-1404 | 1 | 2086
L-63A-43 | 3 | 4 | 3/460 | 117 | A-4A-1404 | 1 | 2186
Dewatering L Series, 8" Discharge - 1800 RPM (4 Pole) - 30' Cable Length
L-200A-23 | 7.5 | 4 | 3/230 | 268 | A-4A-1404 | 1 | 4744
L-200A-43 | 7.5 | 4 | 3/460 | 268 | A-4A-1404 | 1 | 4869
Dewatering L Series, 10" Discharge - 1800 RPM (4 Pole) - 30' Cable Length
L-250A-23 | 10 | 4 | 3/230 | 361 | A-4A-1204 | 1 | 5942
L-250A-43 | 10 | 4 | 3/460 | 361 | A-4A-1204 | 1 | 6067
L-250LA-23 | 15 | 4 | 3/230 | 365 | A-4A-1204 | 1 | 6178
L-250LA-43 | 15 | 4 | 3/460 | 365 | A-4A-1204 | 1 | 6303
Dewatering L Series, 12" Discharge - 1800 RPM (4 Pole) - 30' Cable Length
L-300B-23 | 15 | 4 | 3/230 | 460 | A-4A-1004 | 1 | 7912
L-300B-43 | 15 | 4 | 3/460 | 460 | A-4A-1004 | 1 | 8037
L-1220B-23 | 20 | 4 | 3/230 | 602 | A-4A-1004 | 1.25 | 9268
L-1220B-43 | 20 | 4 | 3/460 | 602 | A-4A-1004 | 1.25 | 9393
STAINLESS STEEL PUMPS
Model No. | Hp | Pole | Ph/Voltage | Weight | Cable Size | Solid Size | List Price
Stainless Steel SA/SFU Series, 2" Discharge - 3600 RPM (2 Pole) - 30' Cable Length & 20' Cable Length (115V Only)
50SA2.4A-11 | 0.5 | 2 | 1/115 | 35 | A-4A-1603 | 0.75 | 1645
50SA2.4A-21 | 0.5 | 2 | 1/230 | 35 | A-4A-1603 | 0.75 | 1606
50SA2.4A-23 | 0.5 | 2 | 3/230 | 33 | A-4A-1604 | 0.75 | 1606
50SA2.4A-43 | 0.5 | 2 | 3/460 | 33 | A-4A-1604 | 0.75 | 1706
50SFU2.4A-11 | 0.5 | 2 | 1/115 | 35 | A-4A-1603 | 1.5 | 1655
50SFU2.4A-21 | 0.5 | 2 | 1/230 | 35 | A-4A-1603 | 1.5 | 1606
50SFU2.4A-23 | 0.5 | 2 | 3/230 | 33 | A-4A-1604 | 1.5 | 1606
50SFU2.4A-43 | 0.5 | 2 | 3/460 | 33 | A-4A-1604 | 1.5 | 1706
50SA2.8A-11 | 1 | 2 | 1/115 | 40 | A-4A-1603 | 0.75 | 1849
50SA2.8A-21 | 1 | 2 | 1/230 | 40 | A-4A-1603 | 0.75 | 1805
50SA2.8A-23 | 1 | 2 | 3/230 | 37 | A-4A-1604 | 0.75 | 1805
50SA2.8A-43 | 1 | 2 | 3/460 | 37 | A-4A-1604 | 0.75 | 1905
50SFU2.8A-11 | 1 | 2 | 1/115 | 35 | A-4A-1603 | 1.5 | 1855
50SFU2.8A-21 | 1 | 2 | 1/230 | 35 | A-4A-1603 | 1.5 | 1805
50SFU2.8A-23 | 1 | 2 | 3/230 | 35 | A-4A-1604 | 1.5 | 1805
50SFU2.8A-43 | 1 | 2 | 3/460 | 35 | A-4A-1604 | 1.5 | 1905
Stainless Steel SA/SFU/SFP Series, 3" Discharge - 3600 RPM (2 Pole) - 30' Cable Length & 50' MTS/MS Cable Length (5Hp and Up Only)
80SA21.5-21 | 2 | 2 | 1/230 | 79 | A-4A-1403 | 0.5 | 2401
80SA21.5-23 | 2 | 2 | 3/230 | 79 | A-4A-1404 | 0.5 | 2351
80SA21.5-43 | 2 | 2 | 3/460 | 80 | A-4A-1404 | 0.5 | 2451
80SFP21.5-21 | 2 | 2 | 1/230 | 81 | A-4A-1403 | 1.5 | 3780
80SFP21.5-23 | 2 | 2 | 3/230 | 79 | A-4A-1404 | 1.5 | 3460
80SFP21.5-43 | 2 | 2 | 3/460 | 79 | A-4A-1404 | 1.5 | 3560
80SFU21.5-21 | 2 | 2 | 1/230 | 92 | A-4A-1403 | 2 | 4082
80SFU21.5-23 | 2 | 2 | 3/230 | 79 | A-4A-1404 | 2 | 3713
80SFU21.5-43 | 2 | 2 | 3/460 | 79 | A-4A-1404 | 2 | 3813
80SA22.2-21 | 3 | 2 | 1/230 | 90 | A-4A-1403 | 0.5 | 2483
80SA22.2-23 | 3 | 2 | 3/230 | 90 | A-4A-1404 | 0.5 | 2456
80SA22.2-43 | 3 | 2 | 3/460 | 90 | A-4A-1404 | 0.5 | 2556
80SFP22.2-21 | 3 | 2 | 1/230 | 91 | A-4A-1403 | 1.5 | 3885
80SFP22.2-23 | 3 | 2 | 3/230 | 90 | A-4A-1404 | 1.5 | 3703
80SFP22.2-43 | 3 | 2 | 3/460 | 90 | A-4A-1404 | 1.5 | 3803
80SFU22.2-21 | 3 | 2 | 1/230 | 92 | A-4A-1403 | 2 | 4226
80SFU22.2-23 | 3 | 2 | 3/230 | 90 | A-4A-1204 | 2 | 3862
80SFU22.2-43 | 3 | 2 | 3/460 | 90 | A-4A-1204 | 2 | 3962
80SA23.7-23 | 5 | 2 | 3/230 | 103 | A-4A-1204 | 0.5 | 3565
80SA23.7-43 | 5 | 2 | 3/460 | 103 | A-4A-1204 | 0.5 | 3690
80SFP23.7-23 | 5 | 2 | 3/230 | 103 | A-4A-1204 | 1.25 | 4944
80SFP23.7-43 | 5 | 2 | 3/460 | 103 | A-4A-1204 | 1.25 | 5069
80SFU23.7-23 | 5 | 2 | 3/230 | 103 | A-4A-1204 | 2 | 5142
80SFU23.7-43 | 5 | 2 | 3/460 | 103 | A-4A-1204 | 2 | 5267
80SA25.5-23 | 7.5 | 2 | 3/230 | 138 | A-4A-1204 | 0.5 | 7360
80SA25.5-43 | 7.5 | 2 | 3/460 | 138 | A-4A-1204 | 0.5 | 7485
80SFP25.5-23 | 7.5 | 2 | 3/230 | 138 | A-4A-1204 | 1.25 | 10178
80SFP25.5-43 | 7.5 | 2 | 3/460 | 138 | A-4A-1204 | 1.25 | 10303
80SFU25.5-23 | 7.5 | 2 | 3/230 | 138 | A-4A-1204 | 2 | 9356
80SFU25.5-43 | 7.5 | 2 | 3/460 | 138 | A-4A-1204 | 2 | 9481
80SA27.5-23 | 10 | 2 | 3/230 | 213 | A-4A-1004 | 0.5 | 7785
80SA27.5-43 | 10 | 2 | 3/460 | 213 | A-4A-1004 | 0.5 | 7910
80SFP27.5-23 | 10 | 2 | 3/230 | 213 | A-4A-1004 | 1.25 | 10885
80SFP27.5-43 | 10 | 2 | 3/460 | 213 | A-4A-1004 | 1.25 | 11010
80SFU27.5-23 | 10 | 2 | 3/230 | 213 | A-4A-1004 | 2 | 11336
80SFU27.5-43 | 10 | 2 | 3/460 | 213 | A-4A-1004 | 2 | 11461
80SA211-23 | 15 | 2 | 3/230 | 381 | A-4A-1004 | 0.5 | 9224
80SA211-43 | 15 | 2 | 3/460 | 381 | A-4A-1004 | 0.5 | 9349
80SFP211-23 | 15 | 2 | 3/230 | 381 | A-4A-1004 | 1.25 | 12926
80SFP211-43 | 15 | 2 | 3/460 | 381 | A-4A-1004 | 1.25 | 13051
80SFU211-23 | 15 | 2 | 3/230 | 381 | A-4A-1004 | 2 | 12280
80SFU211-43 | 15 | 2 | 3/460 | 381 | A-4A-1004 | 2 | 12405
AGITATOR PUMPS
Model No. | Hp | Pole | Ph/Voltage | Weight | Cable Size | Solid Size | List Price
Agitator HDG Series, 3" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
80HDG21.5-21 | 2 | 2 | 1/230 | 85 | A-4A-1403 | 0.5 | 2605
80HDG21.5-23 | 2 | 2 | 3/230 | 83 | A-4A-1404 | 0.5 | 2555
80HDG21.5-43 | 2 | 2 | 3/460 | 83 | A-4A-1404 | 0.5 | 2655
80HDG22.2-21 | 3 | 2 | 1/230 | 98 | A-4A-1403 | 0.5 | 2776
80HDG22.2-23 | 3 | 2 | 3/230 | 93 | A-4A-1404 | 0.5 | 2737
80HDG22.2-43 | 3 | 2 | 3/460 | 93 | A-4A-1404 | 0.5 | 2837
80HDG23.7-23 | 5 | 2 | 3/230 | 115 | A-4A-1404 | 0.5 | 3244
80HDG23.7-43 | 5 | 2 | 3/460 | 115 | A-4A-1404 | 0.5 | 3369
80HDG25.5-23 | 7.5 | 2 | 3/230 | 167 | A-4A-1204 | 0.5 | 5820
80HDG25.5-43 | 7.5 | 2 | 3/460 | 167 | A-4A-1204 | 0.5 | 5945
Agitator HDG Series, 4" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
100HDG25.5-23 | 7.5 | 2 | 3/230 | 145 | A-4A-1204 | 0.5 | 5639
100HDG25.5-43 | 7.5 | 2 | 3/460 | 145 | A-4A-1204 | 0.5 | 5764
100HDG27.5-23 | 10 | 2 | 3/230 | 172 | A-4A-1204 | 0.5 | 5986
100HDG27.5-43 | 10 | 2 | 3/460 | 172 | A-4A-1204 | 0.5 | 6111
Agitator HDG Series, 6" Discharge - 3600 RPM (2 Pole) - 30' Cable Length
150HDG27.5-23 | 10 | 2 | 3/230 | 176 | A-4A-1204 | 0.5 | 6262
150HDG27.5-43 | 10 | 2 | 3/460 | 176 | A-4A-1204 | 0.5 | 6387
AXIAL FLOW PUMPS
Model No. | Hp | Pole | Ph/Voltage | Weight | Cable Size | Solid Size | List Price
Axial Flow Series, 695 RPM (10 Pole) - 50' Cable Length
LA2250-43 | 50 | 10 | 3/460 | 1870 | CALL | 1 | CALL
LA2260-43 | 60 | 10 | 3/460 | 1900 | CALL | 1 | CALL
LA2875-43 | 75 | 10 | 3/460 | 3366 | CALL | 1 | CALL
LA28100-43 | 100 | 10 | 3/460 | 3520 | CALL | 1 | CALL
JET PUMPS
Model No. | Hp | Pole | Ph/Voltage | Weight | Cable Size | Solid Size | List Price
Jet Pump Series, 3600 RPM (4 Pole) & 1800 RPM (4 Pole) - 30' Cable Length & 20' Cable Length (115V Only)
25JFP2.8-11 | 1 | 2 | 1/115 |  | A-4A-1603 | 0.5 | 1463
25JFP2.8-21 | 1 | 2 | 1/230 |  | A-4A-1603 | 0.5 | 1463
25JFP2.8-23 | 1 | 2 | 3/230 |  | A-4A-1604 | 0.5 | 1463
25JFP2.8-43 | 1 | 2 | 3/460 |  | A-4A-1604 | 0.5 | 1563
32JNP21.5-21 | 2 | 2 | 1/230 |  | A-4A-1403 | 0.5 | 1920
32JNP21.5-23 | 2 | 2 | 3/230 |  | A-4A-1604 | 0.5 | 1920
32JNP21.5-43 | 2 | 2 | 3/460 |  | A-4A-1604 | 0.5 | 2020
32JPP21.5-21 | 2 | 2 | 1/230 |  | A-4A-1403 | 0.5 | 2256
32JPP21.5-23 | 2 | 2 | 3/230 |  | A-4A-1604 | 0.5 | 2256
32JPP21.5-43 | 2 | 2 | 3/460 |  | A-4A-1604 | 0.5 | 2356
50JPU41.5-21 | 2 | 4 | 1/230 |  |  | 0.5 | 3016
50JPU41.5-23 | 2 | 4 | 3/230 |  |  | 0.5 | 2704
50JPU41.5-43 | 2 | 4 | 3/460 |  |  | 0.5 | 2804
32JNP22.2-21 | 3 | 2 | 1/230 |  | A-4A-1403 | 0.5 | 1931
32JNP22.2-23 | 3 | 2 | 3/230 |  | A-4A-1404 | 0.5 | 1931
32JNP22.2-43 | 3 | 2 | 3/460 |  | A-4A-1404 | 0.5 | 2031
32JPP22.2-21 | 3 | 2 | 1/230 |  | A-4A-1403 | 0.5 | 2489
32JPP22.2-23 | 3 | 2 | 3/230 |  | A-4A-1404 | 0.5 | 2489
32JPP22.2-43 | 3 | 2 | 3/460 |  | A-4A-1404 | 0.5 | 2589
50JPP42.2-23 | 3 | 4 | 3/230 |  | A-4A-1404 | 0.5 | 3454
50JPP42.2-43 | 3 | 4 | 3/460 |  | A-4A-1404 | 0.5 | 3554
50JPU42.2-23 | 3 | 4 | 3/230 |  |  | 0.5 | 3120
50JPU42.2-43 | 3 | 4 | 3/460 |  |  | 0.5 | 3220
50JNP23.7-23 | 5 | 2 | 3/230 |  | A-4A-1404 | 0.5 | 2401
50JNP23.7-43 | 5 | 2 | 3/460 |  | A-4A-1404 | 0.5 | 2526
50JPP43.7-23 | 5 | 4 | 3/230 |  | A-4A-1404 | 0.5 | 3768
50JPP43.7-43 | 5 | 4 | 3/460 |  | A-4A-1404 | 0.5 | 3893
50JPU43.7-23 | 5 | 4 | 3/230 |  |  | 0.5 | 3432
50JPU43.7-43 | 5 | 4 | 3/460 |  |  | 0.5 | 3557
50JPE45.5-23 | 7.5 | 4 | 3/230 |  | A-4A-1404 | 0.5 | 5473
50JPE45.5-43 | 7.5 | 4 | 3/460 |  | A-4A-1404 | 0.5 | 5598
50JPU45.5-23 | 7.5 | 4 | 3/230 |  |  | 0.5 | 4264
50JPU45.5-43 | 7.5 | 4 | 3/460 |  |  | 0.5 | 4389
50JPU47.5-23 | 10 | 4 | 3/230 |  |  | 0.5 | 4784
50JPU47.5-43 | 10 | 4 | 3/460 |  |  | 0.5 | 4909
SUCTION LIFT SERIES
Suction Lift Pumps |  |  |  | Suction Lift Rotating Assemblies
P-2 |  | 3586 |  | P-21162-02 |  |  | 2125
P-3 |  | 5430 |  | P-31162-02 |  |  | 2306
P-4 |  | 6863 |  | P-41162-02 |  |  | 2985
P-6 |  | 9324 |  | P-61162-02 |  |  | 3845
P-8 |  | 16868 |  | P-81162-02 |  |  | 5517
P-10 |  | 19621 |  | P-101162-02 |  |  | 6890
H-3 |  | 6036 |  | H-31162-02 |  |  | 2384
H-4 |  | 7334 |  | H-41162-02 |  |  | 3034
H-6 |  | 11514 |  | H-61162-02 |  |  | 3961
SP-3 |  | 6247 |  | SP-31162-02 |  |  | 2500
SP-4 |  | 8015 |  | SP-41162-02 |  |  | 3194
SP-6 |  | 9735 |  | SP-61162-02 |  |  | 3972
SP-8 |  | 18972 |  | SP-81162-02 |  |  | 5937
SP-10 |  | 22222 |  | SP-101162-02 |  |  | 7591
SH-3 |  | 6815 |  | SH-31162-02 |  |  | 2451
SH-4 |  | 8447 |  | SH-41162-02 |  |  | 3117
SH-6 |  | 12163 |  | SH-61162-02 |  |  | 4055
PARTS
Part No. | Pump Application | [5 empty] | List Price
Start Kits
HCP-CK-50GF22.21/23.71 | 50GF22.2-21 * 50GF23.7-21 | [5 empty] | 300
HCP-CK-50GF24.51 | 50GF24.5-21 | [5 empty] | 327
HCP-CK-100/80AFE42.2/43.7 | 100/80AFE42.2-21 * 100/80AFE43.7-21 | [5 empty] | 311
HCP-091815-1R1 | 50GF24.5-21 | [5 empty] | 458
Guide Rail Systems (GRS)
T2-50 (Uses 3/4" Rails) | A-05 * A-21 * F-05 * F21 * FN-22 * 50AFU2.4/2.8 * AN-21/21.5 | [5 empty] | 344
T50E | A-05*A-21*F-05*F21*FN-22*50AFU21.5/2.4/2.8*AN-21/21.5 | [5 empty] | 449
T50F (Uses 1" Rails) | 50AFU4.4/4.8*50AFU2.4L/2.8L*50GF22.2/23.7 | [5 empty] | 459
T50E-E5 | 50AFU21.5L*FN-22UL*A-23H*AN-22*AN-23*50AL21.5/22.2 | [5 empty] | 541
T50(80)E | A-32T * A-33 * F-32T * F-33 * FN-32U/P * FN-33U/P * 80AFP/U21.5 * 80AFP/U22.2 | [5 empty] | 635
T80D | A-32T/33 * AN-32/33 * F-32T/33 * FN-32U(L)/P * FN-33U(L)/P * 80AFP21.5/22.2/23.7A * 80AFC21.5/22.2/23.7A * 80AFU21.5/22.2/23.7A * 80AFU21.5L/22.2L/23.7LA * 80AFP41.5/42.2 * 80AFU41.5/42.2/43.7 * 80AFP43.7 - 80AL21.5/22.2/23.7A | [5 empty] | 657
T80DH | FN-35U(L)/P * AN-35 * 80AFU25.5(L)/27.5(L)/211(L) * 80AFP25.5/27.5/211 * 80AL25.5/27.5/211 | [5 empty] | 685
T100(80)B | A-43 * AN-43 * 80AFP43.7 | [5 empty] | 691
T100(80)BH | 80AFP25.5/27.5/211 * 80AL25.5/27.5/211 | [5 empty] | 762
T100B | 100AFE42.2/43.7 * 100AFU45.5/47.5 * 100AFE45.5/47.5 | [5 empty] | 1032
T100BH | 100AFE411/415/422/430 | [5 empty] | 1247
T150(100)B | 100AFE45.5/47.5 | [5 empty] | 1606
T150(100)BH | 100AFE411/415/422/430 | [5 empty] | 1738
T150 | AF-610 * AF-615A * AF-620A | [5 empty] | 1938
T200 | AF-815A * AF-820A | [5 empty] | 2114
T250 | AF-1030S * AF-1040 * AF-1050 * AF-1060 * AF-1075 | [5 empty] | 4491
T350 | AF-1430 * AF-1440 | [5 empty] | 9969
T400(350) | AF-1650 * AF-1660 | [5 empty] | 10273
ST2-50 (Uses 3/4" Rails) | 50SA2.4A/2.8A * 50SFU2.4A/2.8A | [5 empty] | 1049
ST2-80 | 80SFP21.5/22.2 * 80SFU21.5/22.2 * 80SA21.5/22.2 | [5 empty] | 2136
ST80D | 80SFU/P23.7 * 80SA23.7 | [5 empty] | 2396
ST80DH | 80SFP25.5/27.5/211 * 80SFU25.5/27.5/211 * 80SA25.5/27.5/211 | [5 empty] | 2814
ST100(80)BH | 80SFP25.5/27.5/211 * 80SA25.5/27.5/211 | [5 empty] | 2897
Elbows
EB2-96 | 32GF Series (2") | [5 empty] | 73
EB2-120 | 50GF Series (2") | [5 empty] | 94
EB3-130 | 80AFP/80AFU/80AFE Models * F-31U * FN-32U/P/UL * FN-33U/P/UL * FN-35U/P/UL (3") | [5 empty] | 117
EB3-150A | 80AFP/80AFU/80AFE Models * F-31U * FN-32U/P/UL * FN-33U/P/UL * FN-35U/P/UL (3") | [5 empty] | 178
EB4-175(145) | 80AFP/80AFU/80AFE Models * F-31U * FN-32U/P/UL * FN-33U/P/UL * FN-35U/P/UL (3" x 4") | [5 empty] | 216
EB4-175A | 100AFE / 100AFU Models (4") | [5 empty] | 260
EB6-240(165) | 100AFE / 100AFU Models (4" x 6") | [5 empty] | 381
EB6-240 | 150AFE Models * AF-610 * AF-615 * AF-620 (6") | [5 empty] | 619
EB8-290 | AF-815 * AF-820 (8") | [5 empty] | 982
EB10-355 | AF-1030S * AF-1040 * AF-1050 * AF-1060 * AF-1075 (10") | [5 empty] | 2158
EB14-445 | AF-1430 * AF-1440 * AF-1450 * AF-1460 (14") | [5 empty] | 4712
EB16-510(445) | AF-1430 * AF-1440 * AF-1450 * AF-1460 (16") | [5 empty] | 4712
ESB3-130K | 80SFP/SFU Models (3") | [5 empty] | 379
ESB3-150K | 80SFP/SFU Models (3") | [5 empty] | 459
ESB4-175(145)K | 80SFP/SFU Models (3" x 4") | [5 empty] | 569
Elbow Flanges
EF1-1/4-84 | 32GF Models (1.25") | [5 empty] | 45
EF1-1/2-96 | 32GF Models (1.25") | [5 empty] | 62
EF2-84 | 2" Discharge | [5 empty] | 52
EF2-96 | 2" Discharge F/FN * A/AN * AL * AF * GF | [5 empty] | 56
EF2-130 | 2" Discharge F/FN * A/AN * AL * AF * GF (3" x 2") | [5 empty] | 62
EF3-130 | 3" Discharge FN * AN * AL * AF | [5 empty] | 64
EF3-125 | 3" Discharge FN * AN * AL * AF | [5 empty] | 84
EF3-150 | 3" Discharge FN * AN * AL * AF | [5 empty] | 111
EF4-150 | 4" Discharge AL * AF | [5 empty] | 84
EF4-175 | 4" Discharge AL * AF | [5 empty] | 139
EF6-240 | 6" Discharge AF | [5 empty] | 221
EF8-290 | 8" Discharge AF | [5 empty] | 349
EF10-355 | 10" Discharge AF | [5 empty] | 470
EF14-445 | 14" Discharge AF | [5 empty] | 607
EF16-510 | 16" Discharge AF | [5 empty] | 994
ESF2-96K | 2" Discharge SA * SF | [5 empty] | 100
ESF2-130K | 2" Discharge SA * SF | [5 empty] | 194
ESF3-130K | 3" Discharge SA * SF | [5 empty] | 221
ADT Adapters
ADT2"A | 2" Discharge F/FN * A/AN * AL * AF * GF (2" x 2") | [5 empty] | 111
ADT2"*3" | 2" Discharge F/FN * A/AN * AL * AF * GF (2" x 3") | [5 empty] | 216
ADT3"A | 3" Discharge FN * AN * AL * AF (3" x 3") | [5 empty] | 166
ADT3"G | 3" Discharge FN * AN * AL * AF (3" Spacer for GRS) | [5 empty] | 189
ADT3"x4"B | 3" Discharge FN * AN * AL * AF (3" x 4" Spool Type) | [5 empty] | 205
ADT3"x4"ANSI | 3" Discharge FN * AN * AL * AF (3" x 4" Flat Type) | [5 empty] | 221
ADT4"B | 4" Discharge AL * AF (4" x 4") | [5 empty] | 216
ADT4"G | 4" Discharge AL * AF (4" Spacer for GRS) | [5 empty] | 249
ADT4"x6"A | 4" Discharge AL * AF (4" x 6") | [5 empty] | 349
ADT4"x6"B | 4" Discharge AL * AF (4" x 6") | [5 empty] | 349
GRS Adapter Sets
T2-50E | 2" Discharge F/FN * A/AN * AL * AF * GF | [5 empty] | 100
TA-T50F | 2" Discharge F/FN * A/AN * AL * AF * GF | [5 empty] | 106
TA-50E-80 | 2" Discharge F/FN * A/AN * AL * AF * GF | [5 empty] | 100
TA-50E-86 | 2" Discharge F/FN * A/AN * AL * AF * GF | [5 empty] | 161
TA-50F-105 | 2" Discharge F/FN * A/AN * AL * AF * GF | [5 empty] | 128
TA-80D-145 | 3" Discharge FN * AN * AL * AF | [5 empty] | 227
TA80F-145 | 3" Discharge FN * AN * AL * AF (Flygt) | [5 empty] | 276
TA-100B-165 | 4" Discharge AL * AF | [5 empty] | 289
TA100F-165 | 4" Discharge AL * AF (Flygt) | [5 empty] | 421
TA150F-160 | 6" Discharge AF (Flygt) | [5 empty] | 546
TA-150E | 6" Discharge AF | [5 empty] | 619
TA200-140 | 8" Discharge AF | [5 empty] | 757
TA250-125 | 10" Discharge AF | [5 empty] | 1479
C-POF-0400 | 4" Discharge AL * AF (Flygt) | [5 empty] | 1082
C-POF-0600 | 6" Discharge AF (Flygt) | [5 empty] | 1573
C-POF-0800 | 8" Discharge AF (Flygt) | [5 empty] | 2428
FP-PF200L | 2" Lift Out Flange (Liberty Compatiable) | [5 empty] | 309
Bolts & Gasket Sets
B2-5K | 2" ADT Series | [5 empty] | 12
B3-5K | 3" ADT Series | [5 empty] | 23
B3-5KA | 3" ADT Series | [5 empty] | 34
B4-5K | 4" ADT Series | [5 empty] | 30
B4-5KB | C-POF-0400 Adapter Only | [5 empty] | 42
LOT / LOH Connections
LOT2-74 | All GDS Models | [5 empty] | 39
LOT2-98 | 50HD21.5 * 50HD22.2 | [5 empty] | 56
LOT3-98 | 50HD23.7 * 80HD21.5 / 22.2 / 23.7 * 80HDG21.5 / 22.2 / 23.7 | [5 empty] | 62
LOT3-127 | 80HD25.5 * 80HDG25.5 | [5 empty] | 78
LOT4-98 | 100HD23.7 | [5 empty] | 84
LOT4-127 | 100HD25.5 / 27.5 * 100HDG25.5 / 27.5 * IC-48 * IC-410 | [5 empty] | 89
LOT4-145 | 100HD211 * 100HD215 | [5 empty] | 96
LOT4-185 | 100BD222 | [5 empty] | 102
LOT6-127 | 150HD27.5 * 100HDG27.5 * IC-610 | [5 empty] | 119
LOT6-145 | 150HD215 | [5 empty] | 150
LOT6-185 | 150BD222 | [5 empty] | 199
LOH2-74 | All GDS Models | [5 empty] | 45
LOH2-98 | 50HD21.5 * 50HD22.2 | [5 empty] | 67
LOH3-98 | 50HD23.7 * 80HD21.5 * 80HD22.2 * 80HD23.7 | [5 empty] | 78
LOH3-127 | 80HD25.5 | [5 empty] | 89
LOH4-98 | 100HD23.7 | [5 empty] | 94
LOH4-127 | 100HD25.5 / 27.5 * 100HDG25.5 / 27.5 * IC-48 * IC-410 | [5 empty] | 117
LOH4-145 | 100HD211 * 100HD215 | [5 empty] | 155
LOH4-185 | 100BD222 | [5 empty] | 161
LOH6-127 | 150HD27.5 * 100HDG27.5 * IC-610 | [5 empty] | 178
LOH6-145 | 150HD215 | [5 empty] | 211
LOH6-185 | 150BD222 | [5 empty] | 266
Cable Replacements - 20' Length
A-4A-1203-20 | [6 empty] | 709
A-4A-1204-20 | [6 empty] | 770
A-4B-1404-20 | [6 empty] | 614
A-4B-1403-20 | [6 empty] | 560
A-4B-1603-20 | [6 empty] | 482
A-4B-1604-20 | [6 empty] | 530
Cable Replacements - 30' Length
A-4A-1203-30 | [6 empty] | 857
A-4A-1204-30 | [6 empty] | 889
A-4B-1404-30 | [6 empty] | 676
A-4B-1403-30 | [6 empty] | 644
A-4B-1603-30 | [6 empty] | 531
A-4B-1604-30 | [6 empty] | 558
Cable Adders - 50' Length
A-4A-0804-50 | [6 empty] | 1044
A-4A-1004-50 | [6 empty] | 951
A-4A-1203-50 | [6 empty] | 926
A-4A-1204-50 | [6 empty] | 1001
A-4B-1404-50 | [6 empty] | 785
A-4B-1403-50 | [6 empty] | 760
A-4B-1603-50 | [6 empty] | 649
A-4B-1604-50 | [6 empty] | 676
Cable Adders - 100' Length
A-4A-0804-100 | [6 empty] | 1608
A-4A-1004-100 | [6 empty] | 1390
A-4A-1203-100 | [6 empty] | 1178
A-4A-1204-100 | [6 empty] | 1214
A-4B-1404-100 | [6 empty] | 925
A-4B-1403-100 | [6 empty] | 861
A-4B-1603-100 | [6 empty] | 774
A-4B-1604-100 | [6 empty] | 865
Ejectors & Silencers
J-1AP | 1" Ejector | [5 empty] | CALL
J-1-1/4BP | 1.25" Ejector | [5 empty] | CALL
J-2CP | 2" Ejector | [5 empty] | CALL
J-2C | 2" Ejector | [5 empty] | CALL
J-2D | 2" Ejector | [5 empty] | CALL
JH-1" | 1" Silencer | [5 empty] | CALL
JH-1-1/4" | 1.25" Silencer | [5 empty] | CALL
JH-2" | 2" Silencer | [5 empty] | CALL
GRS - Ejectors
JT-1AP | [6 empty] | 595
JT-1-1/4BP | [6 empty] | 649
JT-2CP | [6 empty] | 1028
JT-2C | [6 empty] | 1190
JT-2D | [6 empty] | 1298
Float Switches & Brackets
Float Adder (-F) | Float Adder for Pumps | [5 empty] | 115
S-20A002 | 1/2Hp 120V / 1Hp 240V 13 Amp Mechanical Float with Plug and SS Pipe Mount Assembly | [5 empty] | 81
2900-B2S1C1-20 | Normally open, Mini Bulb, Narrow Angle Mercury Float Switch, 10 Amp, 120V, Cord Weight, 20' Cable | [5 empty] | 49
2900-B8S1C1-20 | 20' Mechanical Float with Weight | [5 empty] | 47
2900-B2S1C1-40 | Normally open, Mini Bulb, Narrow Angle Mercury Float Switch, 10 Amp, 120V, Cord Weight, 40' Cable | [5 empty] | 58
2900-B8S1C1-40 | 40' Mechancial Float with Weight | [5 empty] | 55
2900-B2S1C1-50 | Normally open, Mini Bulb, Narrow Angle Mercury Float Switch, 10 Amp, 120V, Cord Weight, 50' Cable | [5 empty] | 110
2900-B8S1C1-50 | 50' Mechanical Float with Weight | [5 empty] | 108
2900-B8S6P2C1-20 | Normally Open, Standard Size, Green Pear Shape, Foamed Filled, Wide Angle, Mechanical, 15 Amp, 230V Piggy Back Plub, 20' with Weight | [5 empty] | 109
2900-B8S6C1-20 | 20' Wide Angle Mechanical Float Switch, 15 Amp, 1Hp @ 120VAC, 2Hp @ 240VAC, Cord Weight without Plug | [5 empty] | 94
2900-B8S6C1-40 | 40' Mechanical Float with weight, 15 Amp, Wide Angle | [5 empty] | 138
2900-B8S4P1C1-20 | Normally open, standard size, Green Pear shape, Foamed Filled, Wide Angle, Mechanical, 13 Amp, 115V Piggy Back Plug, 20' Cord with Weight | [5 empty] | 88
2900-B8S6P2C1-40 | 40' Mechancial Float, 230V, 15 Amp, Wide Angle, Piggy Pack Plug | [5 empty] | 134
2900-B8S6P1C1-50 | 50' Mechanical Float, 120V, 15 Amp, Wide Angle, Piggy Pack Plug | [5 empty] | 164
C-3FB | Simplex L Type Float Bracket | [5 empty] | 143
C-4FB | Duplex 4 Hook Type Float Bracket | [5 empty] | 172
C-6AHB | Triplex 6 Hook Type Float Bracket | [5 empty] | 206
1/4" SS Shackle | 1/4" Stainless Steel Shackle, per foot | [5 empty] | 29
3/16" SS Chain | 3/16" Stainless Steel Chain, per foot | [5 empty] | 18

## Control Panels
CLICK TO RETURN TO THE FRONT PAGE
Standard Control Panels
Pump Hp | Part No. |  | List Price | Dead Front Part No. | List Price
1Ph - 230V, Simplex Control Panels
1 & 0.5 (115V) | HCP-001-13 |  | 730 | HCP-001-E1-C1-4C15-13 | 940
1 | HCP-002-6 |  | 676 | HCP-002-E1-C1-4C15-6 | 850
2 | HCP-002-10 |  | 676 | HCP-002-E1-C1-4C15-10 | 850
3 | HCP-002-18 |  | 700 | HCP-002-E1-C1-4C15-18 | 900
5 | HCP-002-25 |  | 736 | HCP-002-E1-C1-4C15-25 | 950
For 50GF22.2 | HCP-700-C6C7-50GF22.21 |  | 1275
For 50GF23.7 | HCP-700-C6C7-50GF23.71 |  | 1400
For 50GF24.5 | HCP-700-C6C7-50GF24.51 |  | 1400
For 100/80AFE43.7 | HCP-700-C6C7-100AFE43.71 |  | 1325
1Ph - 230V, Duplex Control Panels
1 & 0.5(115V) | HCP-501-13 |  | 1175 | HCP-501-E1-C1-4C15-13 | 1575
1 | HCP-502-6 |  | 1200 | HCP-502-E1-C1-4C15-6 | 1475
2 | HCP-502-10 |  | 1200 | HCP-502-E1-C1-4C15-10 | 1475
3 | HCP-502-18 |  | 1280 | HCP-502-E1-C1-4C15-18 | 1540
5 | HCP-502-25 |  | 1350 | HCP-502-E1-C1-4C15-25 | 1600
For 50GF22.2 | HCP-750-C6C7-50GF22.21 |  | 1850
For 50GF23.7 | HCP-750-C6C7-50GF23.71 |  | 2075
For 50GF24.5 | HCP-750-C6C7-50GF24.51 |  | 2075
For 100/80AFE43.7 | HCP-750-C6C7-100AFE43.71 |  | 2050
3Ph - 230V, Simplex Control Panels
1Hp | HCP-007-C50 |  | 1030 | HCP-007-E1-C1-4C15C50 | 1250
3Hp | HCP-007-C6C7C50-10 |  | 1230 | HCP-007-E1-C1-4C15C6C7C50-10 | 1625
5Hp | HCP-007-C6C7C50-18 |  | 1350 | HCP-007-E1-C1-4C15C6C7C50-18 | 1725
7.5Hp | HCP-007-C6C7C50-25 |  | 1450 | HCP-007-E1-C1-4C15C50-C6C7-25 | 1825
10 - 15Hp | HCP-007-C6C7C50-32 |  | 1600 | HCP-007-E1-C1-4C15C50-C6C7-32 | 1950
20Hp | HCP-007-C6C7C50-57 |  | 1850 | HCP-007-E1-C1-4C15C50-C6C7-57 | 2150
3Ph - 230V, Duplex Control Panels
1Hp | HCP-509-C50 |  | 1490 | HCP-509-E1-C1-4C15C50 | 1840
3Hp | HCP-509-C6C7C50-10 |  | 2025 | HCP-509-E1-C1C6C7-4C15C50-10 | 2215
5Hp | HCP-509-C6C7C50-18 |  | 2125 | HCP-509-E1-C1C6C7-4C15C50-18 | 2500
7.5Hp | HCP-509-C6C7C50-25 |  | 2150 | HCP-509-E1-C1C6C7-4C15C50-25 | 2750
10 - 15Hp | HCP-509-C6C7C50-32 |  | 2250 | HCP-509-E1-C1C6C7-4C15C50-32 | 2850
20Hp | HCP-509-C6C7C50-57 |  | 2450 | HCP-509-E1-C1C6C7-4C15C50-57 | 3050
3Ph - 460V, Simplex Control Panels (All Dead Front)
3 - 5Hp | HCP-008-E1-C1C6C7-4C15 |  | 2275
7.5Hp | HCP-008-E1-C1C6C7-4C15-13 |  | 2400
10 - 15Hp | HCP-008-E1-C1C6C7-4C15-18 |  | 2550
20Hp | HCP-008-E1-C1C6C7-4C15-32 |  | 2700
3Ph - 460V, Duplex Control Panels (All Dead Front)
3 - 5Hp | HCP-510-E1-C1C6C7-6C15 |  | 3350
7.5Hp | HCP-510-E1-C1-4C15-C6C7-13 |  | 3500
10 - 15Hp | HCP-510-E1-C1-4C15-C6C7-18 |  | 3650
20Hp | HCP-510-E1-C1-4C15-C6C7-32 |  | 3825
Control Panel Options
* OPTIONAL SEAL LEAK & HEAT SENSOR ADDERS, FOR ALL OTHER STANDARD PANELS *
|  | Simplex Option: | Duplex Option:
C6 - Basic Seal Leak |  | 130 | 260
C7 - Heat Sensor Connection |  | 75 | 125
** CONTACT OFFICE FOR ALL SPECIAL BUILD PANELS OR STANDARD PANEL ADDERS **

## O-Ring & Repair Kits
CLICK TO RETURN TO THE FRONT PAGE
O-Ring Kits |  | Repair Kits
Model No. | List Price | Model No. | List Price
GF Series
32GF21.5-OK | 25 | 32GF21.5-RK | 240
32GF22.2-OK | 25 | 32GF22.2-RK | 246
50GF22.2-OK | 22 | 50GF22.2-RK | 536
50GF23.7-OK | 22 | 50GF23.7-RK | 536
50GF24.5-OK | 22 | 50GF24.5-RK | 536
50GF25.5-OK | 42 | 50GF25.5-RK | 2238
50GF27.5-OK | 42 | 50GF27.5-RK | 2238
50GF211-OK | 42 | 50GF211-RK | 2238
AF Series
50AFU2.4-OK | 31 | 50AFU2.4-RK | 193
50AFU2.8-OK | 31 | 50AFU2.8-RK | 193
50AFU21.5-OK | 31 | 50AFU21.5-RK | 249
80AFU21.5-OK | 37 | 80AFU21.5-RK | 249
80AFU22.2-OK | 37 | 80AFU22.2-RK | 256
80AFU23.7-OK | 37 | 80AFU23.7-RK | 560
80AFU25.5-OK | 48 | 80AFU25.5-RK | 739
80AFU27.5-OK | 48 | 80AFU27.5-RK | 739
80AFU211-OK | 48 | 80AFU211-RK | 739
80AFU41.5-OK | 18 | 80AFU41.5-RK | 528
80AFU42.2-OK | 22 | 80AFU42.2-RK | 544
80AFU43.7-OK | 22 | 80AFU43.7-RK | 696
100AFU45.5-OK | 51 | 100AFU45.5-RK | 1445
100AFU47.5-OK | 57 | 100AFU47.5-RK | 1450
80AFP21.5-OK | 25 | 80AFP21.5-RK | 237
80AFP22.2-OK | 25 | 80AFP22.2-RK | 242
80AFP23.7-OK | 22 | 80AFP23.7-RK | 546
80AFP25.5-OK | 48 | 80AFP25.5-RK | 739
80AFP27.5-OK | 48 | 80AFP27.5-RK | 739
80AFP211-OK | 48 | 80AFP211-RK | 739
80AFP41.5-OK | 25 | 80AFP41.5-RK | 534
80AFP42.2-OK | 22 | 80AFP42.2-RK | 544
80AFP43.7-OK | 22 | 80AFP43.7-RK | 686
80AFE41.5-OK |  | 80AFE41.5-RK
80AFE42.2-OK | 22 | 80AFE42.2-RK | 696
80AFE43.7-OK | 22 | 80AFE43.7-RK | 696
100AFE42.2-OK | 22 | 100AFE42.2-RK | 696
100AFE43.7-OK | 22 | 100AFE43.7-RK | 696
100AFE45.5-OK | 46 | 100AFE45.5-RK | 1438
100AFE47.5-OK | 57 | 100AFE47.5-RK | 1450
100AFE411-OK | 81 | 100AFE411-RK | 1620
100AFE415-OK | 92 | 100AFE415-RK | 1631
100AFE422-OK | 113 | 100AFE422-RK | 1808
100AFE430-OK | 113 | 100AFE430-RK | 1808
AF-610-OK | 140 | AF-610-RK | 831
AF-615-OK | 112 | AF-615-RK | 2891
AF-620-OK | 112 | AF-620-RK | 2922
AF-815-OK | 112 | AF-815-RK | 2922
AF-820-OK | 112 | AF-820-RK | 2922
AFC Series
80AFC21.5-OK | 18 | 80AFC21.5-RK | 237
80AFC22.2-OK | 18 | 80AFC22.2-RK | 237
80AFC23.7-OK | 22 | 80AFC23.7-RK | 546
80AFC42.2-OK | 22 | 80AFC42.2-RK | 696
80AFC43.7-OK | 22 | 80AFC43.7-RK | 696
100AFC45.5-OK | 57 | 100AFC45.5-RK | 1450
100AFC47.5-OK | 57 | 100AFC47.5-RK | 1450
F/FN Series
F-05U-OK | 30 | F-05U-RK | 192
F-21U-OK | 30 | F-21U-RK | 192
F-31U-OK | 30 | F-31U-RK | 192
FN-22U-OK | 37 | FN-22U-RK | 256
FN-23U-OK |  | FN-23U-RK
FN-32U-OK | 37 | FN-32U-RK | 259
FN-32P-OK | 37 | FN-32P-RK | 259
FN-33U-OK | 37 | FN-33U-RK | 259
FN-33P-OK | 37 | FN-33P-RK | 259
FN-35U-OK | 37 | FN-35U-RK | 259
FN-35P-OK | 37 | FN-35P-RK | 259
A/AN Series
A-05A-OK | 36 | A-05A-RK | 110
A-21-OK | 32 | A-21-RK | 192
A-31-OK | 32 | A-31-RK | 192
A-33H-OK | 38 | A-33H-RK | 256
AN-21-OK | 27 | AN-21-RK | 186
AN-21.5-OK | 27 | AN-21.5-RK | 186
AN-22-OK | 27 | AN-22-RK | 242
AN-23-OK | 27 | AN-23-RK | 242
AN-32-OK | 19 | AN-32-RK | 237
AN-33-OK | 19 | AN-33-RK | 237
AN-35-OK | 19 | AN-35-RK | 237
AL Series
50AL21.5-OK | 25 | 50AL21.5-RK | 237
50AL22.2-OK | 18 | 50AL22.2-RK | 237
80AL21.5-OK | 25 | 80AL21.5-RK | 237
80AL22.2-OK | 18 | 80AL22.2-RK | 237
80AL23.7-OK | 18 | 80AL23.7-RK | 542
80AL25.5-OK | 48 | 80AL25.5-RK | 739
80AL27.5-OK | 48 | 80AL27.5-RK | 739
80AL211-OK | 48 | 80AL211-RK | 739
HD/BD/HDG Series
50HD21.1-OK | 49 | 50HD21.1-RK | 208
50HD21.5-OK | 43 | 50HD21.5-RK | 261
50HD22.2-OK | 43 | 50HD22.2-RK | 261
50HD23.7-OK | 43 | 50HD23.7-RK | 271
80HD21.5-OK | 43 | 80HD21.5-RK | 261
80HD22.2-OK | 43 | 80HD22.2-RK | 261
80/100HD23.7-OK | 43 | 80/100HD23.7-RK | 271
80/100HD25.5-OK | 90 | 80/100HD25.5-RK | 665
100HD27.5-OK | 90 | 100HD27.5-RK | 665
100HD211-OK | 87 | 100HD211-RK | 786
150HD215-OK | 87 | 150HD215-RK | 786
150BD222-OK | 105 | 150BD222-RK | 2770
80HDG21.5-OK | 43 | 80HDG21.5-RK | 261
80HDG22.2-OK | 43 | 80HDG22.2-RK | 261
80/100HDG23.7-OK | 43 | 80/100HDG23.7-RK | 271
80/100HDG25.5-OK | 90 | 80/100HDG25.5-RK | 665
100HDG27.5-OK | 90 | 100HDG27.5-RK | 665
IC Series
IC-32B-OK | 37 | IC-32B-RK | 256
IC-33B-OK | 37 | IC-33B-RK | 256
IC-43B-OK | 43 | IC-43B-RK | 261
IC-45B-OK | 43 | IC-45B-RK | 271
IC-46B-OK | 43 | IC-46B-RK | 271
IC-48-OK | 90 | IC-48-RK | 665
IC-410-OK | 90 | IC-410-RK | 665
IC-610-OK | 90 | IC-610-RK | 665
L Series
L-62-OK | 51 | L-62-RK | 350
L-63-OK | 51 | L-63-RK | 350
L-41-OK | 43 | L-41-RK | 205
L-200A-OK | 64 | L-200A-RK | 420
L-250A-OK | 76 | L-250A-RK | 453
L-250AL-OK | 76 | L-250AL-RK | 453
L-300A-OK | 121 | L-300A-RK | 686
L-1220B-OK | 121 | L-1220B-RK | 686
Stainless Steel Series
50SA2.4A-OK | 49 | 50SA2.4A-RK | 239
50SA2.8A-OK | 49 | 50SA2.8A-RK | 239
50SFU2.4A-OK | 49 | 50SFU2.4A-RK | 239
50SFU2.8A-OK | 49 | 50SFU2.8A-RK | 239
80SA21.5-OK | 50 | 80SA21.5-RK | 299
80SA22.2-OK | 50 | 80SA22.2-RK | 299
80SFU21.5-OK | 50 | 80SFU21.5-RK | 299
80SFU22.2-OK | 50 | 80SFU22.2-RK | 299
80SA23.7-OK | 76 | 80SA23.7-RK | 637
80SFU23.7-OK | 76 | 80SFU23.7-RK | 637
80SFU/SA25.5-OK | 112 | 80SFU/SA25.5-RK | 939
80SFU/SA27.5-OK | 112 | 80SFU/SA27.5-RK | 939
80SFU/SA211-OK | 112 | 80SFU/SA211-RK | 939